Building Layout Overview

- All buildings should be checked for distances to property lines before digging the foundation.

- All buildings should show a minimum setback dimension to the nearest tenth of a foot along the property lines.

- Building form check should be done on all residential and commercial buildings as a safety check.  Failure to perform form checks is asking for trouble.  Remember the golden rule of “ measure twice pour once.”

- Buildings are generally staked on the long side with an offset to each building corner. With bigger commercial buildings it is common to have envelope stakes or grid lines. This should be discussed before stakeout to allow proper time and procedure for layout.