Walls and Fencing Overview

- All walls should be referenced to property line and exposed face of wall, non-retaining side.

- Grades are referenced to top of wall and top of footing.

- Ties to the wall should be referenced to property line or centerline to the exposed face of wall.

- Wall dimensions should clearly be stated in a typical drawing.

- The footing of a wall should be a consideration to avoid encroachment when staking or positioning a wall.

- Walls with stationing should be clearly defined, and reference top of wall and footing steps accordingly.